Year: ____________		Issued by: ____________		Date: ____________

| Subject | ISO 13485 | IVDR 2017/746 | Canadian Regulations SOR-98-282 | ISO 9001 | Section in FDA QSR | Due (month) | Resp. | Performed on |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Documentation control | 4.2.1; 4.2.2; 4.2.3; 4.2.4 | Annex IX section 2.2 | 9(2), 10-20, 32 |  | 820.40 820.181 |  |  |  |
| Records Control | 4.2.5 | Annex IX section 2.2 | 55-56 66-68 |  | 820.180 820.184 820.186 |  |  |  |
| Medical Device File/Device Master Records | 4.2.3 | Annex IX section 2.2 (c) |  |  |  |  |  |  |
| Quality Objectives, Quality Policy, Planning | 5.3; 5.4.1; 5.4.2; 4.1 | Annex IX Chapter 1 Annex IX section 2.2 (a) | 2-7, 26, 28-31, 32, 33, 34, 43, 43.1 |  | 820.20 |  |  |  |
| Management Responsibility – Responsibility, Authority; Internal Communication, management rep.; Quality Manual | 5.5; 4.2.2; 4.1 | Annex IX Chapter 1 Section 2.2 | 32(2) f) |  | 820.20 |  |  |  |
| Management review | 5.6; 8.2; 5.1; 5.2; 8.4; 8.1; 8.5.1 |  |  |  | 820.20 |  |  |  |
| Resource management – training | 6.1; 6.2; 6.3; 6.4 | Annex IX section 2.2 (b) |  |  | 820.20 820.25 |  |  |  |
| Design Control | 7.3.1; 7.3.2; 7.3.3; 7.3.4; 7.3.5; 7.3.6; 7.3.7; 7.3.8; 7.3.9; 7.3.10; 4.2.5; 7.1; 7.2.1 | Annex XI, Chapter 1, section 2.2 (c) | 9, 10, 11, 12, 13, 14, 15, 16, 18, 19, 20, 32 |  | 820.30 |  |  |  |
| Clinical file |  |  |  |  |  |  |  |  |
| Pre-clinical file |  |  | 1, 34, 43 (1) (b) |  |  |  |  |  |
| Risk Management Process | 7.1, 7.3.3, 7.3.9, | Article 10 (2), Annex I (3) | XX | XX | 21CFR820.30 |  |  |  |
| Change Control | 7.3.9; 7.2.2 | Annex XI, Chapter 1, section 2.2 (c) | 1, 34, 43(1)(b) |  | 820.30 |  |  |  |
| Customer related processes, communication-contract/ order review/processing | 7.2.1; 7.2.2; 7.2.3 |  | 2-24, 26-32, 34, 43, 52-64, 66-68 schedule 1 Schedule 2 |  | 820.70 |  |  |  |
| Purchasing & Supplier Control | 7.4.1; 7.4.2 | Annex IX Chapter 1 Section 2.2(b) |  |  | 820.50 |  |  |  |
| Verification of purchased products – In coming inspection | 7.4.3; 7.5.8; 7.5.9; 7.5.10 | Annex IX Chapter 1 Section 2.2(d) |  |  | 820.80 |  |  |  |
| Production control –product; processes In-process and Final Inspection | 7.5.1; 7.5.2; 7.5.3; 7.5.4; 7.5.5; 7.5.6; 7.5.7; 7.5.8; 7.5.9; 8.2.5; 8.2.6 | Annex IX Chapter 1 Section 2.2(d) | 17 |  | 820.70 820.80 |  |  |  |
| Production control – Infrastructure; work environment and Contamination Control | 6.3; 6.4 |  | 14 |  | 820.70 |  |  |  |
| Preservation of product – storage and distribution | 7.5.8; 7.5.9; 7.5.10; 7.5.11 |  | 14 52-56 44-51 |  | 820.60 820.65 820.86 820.140 820.150 820.160 |  |  |  |
| Identification and Traceability | 7.5.8; 7.5.9; 7.5.10 |  | 21 c) & d), 52-56 66, 67 |  | 820.60 820.65 820.86 |  |  |  |
| Control of monitoring and measuring equipment | 7.6 | Annex IX Chapter 1 Section 2.2(e) |  |  | 820.72 |  |  |  |
| Feedback, Customer communication – Customer complaint Vigilance; recall and advisory notice PMS and Performance evaluation Customer Satisfaction | 8.2.2; 8.2.3; 8.5.1; 7.2.3(c, d); 8.4; 8.5.1; 8.1 | Annex IX Chapter 1 Section 2.1 Annex XIV Part A | 57(1)(a) 57(1)(b), 58(a), 59-61.1, 63, 64, 65 | 8.2.1 | 820.198 |  |  |  |
| Internal Audits | 8.2.4; 8.2.5; 8.2.6; 8.4; 8.1 | Annex VII Section 2.2 |  |  | 820.22 |  |  |  |
| Control of Non-conforming Product | 8.3 | Annex IX Chapter 1 Section 2.2(b) |  |  | 820.90 |  |  |  |
| Corrective and Preventive action, Improvement; continuous improvement | 8.5.1; 8.5.2;8.5.3; 8.4 |  | 58 a), b) | 8.5.1 | 820.100 |  |  |  |
| Technical documentation |  | Annex IX Chapter 1 Section 2.2(c) |  |  |  |  |  |  |
| Language Translation |  | Article 52 Section 12 | 21-23 |  |  |  |  |  |
| Device license and amendment regulatory requirements |  |  | 32, 34 |  |  |  |  |  |

*Activities performed by subcontractor.

Approved by: ________________     Signature: ______________________