# Purpose

The purpose of this document is to define the device classification of the <device name> device.

# Applicable Documents

  - In Vitro Diagnostic Medical Device Regulation (EU) 2017/746 (IVDR)

  - MDCG 2020-16 rev. 2, Guidance on classification rules for in vitro Diagnostic Medical Devices under Regulation (EU) 2017/746, issued in February 2023

# Definitions

In Vitro Diagnostic medical device – any medical device which is a reagent, reagent product, calibrator, control material, kit, instrument, apparatus, piece of equipment, software or system, whether used alone or in combination, intended by the manufacturer to be used in vitro for the examination of specimens, including blood and tissue donations, derived from the human body, solely or principally for the purpose of providing information on one or more of the following:

(a) concerning a physiological or pathological process or state;

(b) concerning congenital physical or mental impairments;

(c) concerning the predisposition to a medical condition or a disease;

(d) to determine the safety and compatibility with potential recipients;

(e) to predict treatment response or reactions;

(f) to define or monitoring therapeutic measures.

Specimen receptacles shall also be deemed to be in vitro diagnostic medical devices

Device for self-testing – any device intended by the manufacturer to be used by lay persons, including devices used for testing services offered to lay persons by means of information society services

Device for near-patient testing – any device that is not intended for self-testing but is intended to perform testing outside a laboratory environment, generally near to, or at the side of, the patient by a health professional

Companion diagnostic – a device which is essential for the safe and effective use of a corresponding medicinal product to:

(a) identify, before and/or during treatment, patients who are most likely to benefit from the corresponding medicinal product; or

(b) identify, before and/or during treatment, patients likely to be at increased risk of serious adverse reactions as a result of treatment with the corresponding medicinal product

# EU Device Classification

The <Device name> is intended for <intended use>. <Insert short description>

The <Device name> is an IVD medical device because it is intended to <rationale here>.

The <Device name> is classified according to Annex VIII of the In Vitro Diagnostic Medical Device Regulation (EU) 2017/746 (IVDR) as Class X according to Rule X.

# Implementing Rules

All rules detailed in Annex VIII of the 2017/746 IVDR are reviewed in Appendix 1 of this document.

# EU Conformity Assessment Route

Annex IX (chapter X) of the In Vitro Diagnostic Medical Device Regulation (EU) 2017/746 (IVDR) and EN ISO 13485:2016.

# Responsibilities

The Personal Responsible for Regulatory Compliance (PRRC) is responsible for ensuring that the classification of the device is properly defined.

| Appendix I - Classification rules of the IVDR Annex VIII |  |  |  |
| --- | --- | --- | --- |
| Rule # | Rule description | Class | Classification (applicability and rational) |
| 1 | Devices intended to be used for the following purposes are classified as class D: - detection of the presence of, or exposure to, a transmissible agent in blood, blood components, cells, tissues or organs, or in any of their derivatives, in order to assess their suitability for transfusion, transplantation or cell administration; - detection of the presence of, or exposure to, a transmissible agent that causes a life-threatening disease with a high or suspected high risk of propagation; - determining the infectious load of a life-threatening disease where monitoring is critical in the process of patient management. | D |  |
| 2 | Devices intended to be used for blood grouping, or to determine foeto-maternal blood group incompatibility, or for tissue typing to ensure the immunological compatibility of blood, blood components, cells, tissue or organs that are intended for transfusion or transplantation or cell administration, are classified as class C, except when intended to determine any of the following markers: | C |  |
|  | - ABO system [A (ABO1), B (ABO2), AB (ABO3)]; - Rhesus system [RH1 (D), RHW1, RH2 (C), RH3 (E), RH4 (c), RH5 (e)]; - Kell system [Kel1 (K)]; - Kidd system [JK1 (Jka), JK2 (Jkb)]; - Duffy system [FY1 (Fya), FY2 (Fyb)]; in which case they are classified as class D. | D |  |
| 3 | Devices are classified as class C if they are intended: | C |  |
|  | (a) for detecting the presence of, or exposure to, a sexually transmitted agent; |  |  |
|  | (b) for detecting the presence in cerebrospinal fluid or blood of an infectious agent without a high or suspected high risk of propagation; |  |  |
|  | (c) for detecting the presence of an infectious agent, if there is a significant risk that an erroneous result would cause death or severe disability to the individual, foetus or embryo being tested, or to the individual's offspring; |  |  |
|  | (d) for pre-natal screening of women in order to determine their immune status towards transmissible agents; |  |  |
|  | (e) for determining infective disease status or immune status, where there is a risk that an erroneous result would lead to a patient management decision resulting in a life-threatening situation for the patient or for the patient's offspring; |  |  |
|  | (f) to be used as companion diagnostics; |  |  |
|  | (g) to be used for disease staging, where there is a risk that an erroneous result would lead to a patient management decision resulting in a life-threatening situation for the patient or for the patient's offspring; |  |  |
|  | (h) to be used in screening, diagnosis, or staging of cancer; |  |  |
|  | (i) for human genetic testing; |  |  |
|  | (j) for monitoring of levels of medicinal products, substances or biological components, when there is a risk that an erroneous result will lead to a patient management decision resulting in a life-threatening situation for the patient or for the patient's offspring; |  |  |
|  | (k) for management of patients suffering from a life-threatening disease or condition; |  |  |
|  | (l) for screening for congenital disorders in the embryo or foetus; |  |  |
|  | (m) for screening for congenital disorders in new-born babies where failure to detect and treat such disorders could lead to life-threatening situations or severe disabilities. |  |  |
| 4 | (a) Devices intended for self-testing are classified as class C, except for devices for the detection of pregnancy, for fertility testing and for determining cholesterol level, and devices for the detection of glucose, erythrocytes, leucocytes and bacteria in urine, which are classified as class B. | B |  |
|  | (b) Devices intended for near-patient testing are classified in their own right |  |  |
| 5 | The following devices are classified as class A: | A |  |
|  | (a) products for general laboratory use, accessories which possess no critical characteristics, buffer solutions, washing solutions, and general culture media and histological stains, intended by the manufacturer to make them suitable for in vitro diagnostic procedures relating to a specific examination; |  |  |
|  | (b) instruments intended by the manufacturer specifically to be used for in vitro diagnostic procedures; |  |  |
|  | (c) specimen receptacles. |  |  |
| 6 | Devices not covered by the above-mentioned classification rules are classified as class B. | B |  |
| 7 | Devices which are controls without a quantitative or qualitative assigned value are classified as class B. | B |  |